Installing the Pool Wizard

- Backwash or clean the filter.

- Test the pool water and adjust the pH and chlorine if necessary. pH should be 7.0 - 7.6 and free chlorine should be 1.0 - 3.0 ppm.
NOTE: For pools with algae, please shock treat and clear your pool before applying the Pool Wizard.

- Calculate the number of Pool Wizard Units and Active Mineral Rechargers your pool needs.

- Place the Pool Wizard Unit (blue basket) in the skimmer or leaf basket. Ensure that the Pool Wizard Unit remains in the skimmer or leaf basket for the system to remain effective.

- Next, empty the contents of the Pool Wizard Mineral bag or tub into the skimmer, leaf basket or overflow channel (and NOT directly into the pool).

- Run the pump for at least 8 hours. The minerals begin destroying any unicellular organisms in the water and are rejuvenated as they pass through the Unit.

- Ensure that the pump runs for at least 8 hours each day until the pool reaches desired condition.

- Run the pool as usual. (8 - 18 hours in the summer; 2 - 10 hours in the winter)

- Periodically check the pH, chlorine, total alkalinity, calcium hardness and conditioner levels. Levels will need to be maintained for the Wizard to remain effective. Add chemicals as necessary to maintain correct levels.

- The pool will require the addition of Active Mineral Rechargers every 6 - 9 months.

- The Pool Wizard Unit has a life span of 3 years.

NOTE: On average a pool loses about 5% of its water through backwashing or splashout each month. Minerals are lost at the same rate, so a Recharger is required every 6 - 9 months. If the pool has a leak, is backwashed more than once a week, or loses a large amount of water through splashout, the pool may require a Recharger earlier than the recommended period.

Pool System Specs:

The Pool Wizard is effective in both chlorine and salt-based pool water systems.

The Pool Wizard is not compatible with bromine or biguanide (Baquacil, SoftSwim). If you use or have recently used either of these chemicals, the Pool Wizard will not operate as it should. The Pool Wizard must not be used in pools that are treated with bromine or biguanide and we accept no liability for the product used under these conditions.

Possible Side Effect:

The Pool Wizard Minerals can temporarily color blonde or dyed hair green or blue when they are added to pool water that is not perfectly balanced. To avoid this, DO NOT swim for the first 24 - 48 hours after the Active Minerals are added to the pool.